## Slide 1: Robust single-point ultra short echo time water-fat separation
Before
After
By: Mateo Argudo

## Slide 2: Motivation
Motivation of imaging short T2 species
Previous efforts on imaging tissues containing short T2 components
Ultra short echo time (UTE) techniques
Water-fat separation
Overview
Notes: First we will present the motivation on why do we use sUTE-Dixon. And we will talk about why do we want to model the field inhomogeneities to achieve a better water fat separation quality.

## Slide 3: Motivation
The most effective strategy to diagnose parenchymal disease with MRI is to detect abnormal tissue using heavily T2 weighted pulses1
Main diagnostic emphasis remains on imaging tissues with long T2*
2018, Brooks J. MRI background parenchymal enhancement, breast density and serum hormones in postmenopausal women. J. Cancer.
2003, Robson, M. Magnetic Resonance: An Introduction to Ultrashort TE (UTE) Imaging, Journal of Computed Assisted Tomography

## Slide 4: Motivation
Short T2* tissues such as cortical bone provide a useful background against which to recognize abnormalities that produce an increase of a signal
Because of the absence of signal its difficult to image it properly
2018, Brooks J. MRI background parenchymal enhancement, breast density and serum hormones in postmenopausal women. J. Cancer.
2003, Robson, M. Magnetic Resonance: An Introduction to Ultrashort TE (UTE) Imaging, Journal of Computed Assisted Tomography

## Slide 5: Previous Efforts on Imaging Short T2* Tissues
Imaging short T2 components is hard due to absence of signal
Using spin echo sequences with TE=10-20 ms, tissues with T2s > 10ms are detectable1 e.g. Common Tissue
Gradient echo sequences with TE= 1-2 ms, detect tissues with T2s = 1-2 ms1 e.g. Ligaments, Menisci.
UTE have TE x100-1000 shorter and can be used to image tissue of the musculoskeletal system2, e.g. cortical bone, calcium hydroxy apatite
2019 Hyungseok J. Fat suppression for ultrashort echo time imaging using a single-point Dixon method. NMR in Biomedicine.
2003, Robson, M. Magnetic Resonance: An Introduction to Ultrashort TE (UTE) Imaging, Journal of Computed Assisted Tomography

## Slide 6: Imaging Short T2* Tissues with UTE
↓ TE -> ↑ signal
DC: Readout
M: Signal Magnitude
2003, Robson, M. Magnetic Resonance: An Introduction to Ultrashort TE (UTE) Imaging, Journal of Computed Assisted Tomography

## Slide 7: Mutli- vs Single-Echo UTE Sequences
Multi-Echo1
Multi-echo sequences obtain contrast by comparing acquisitions at more than one TE
Have a high contrast to noise ratio (CNR)
Are effective for medium and long T2 signal suppression
Single-Echo2
Single-echo UTE (sUTE) sequences obtain contrast directly from the first signal
Have shorter acquisition times but less CNR than multi-echo sequences
1. 2023 Kronthaler S, UTE-Dixon Water-Fat Imaging. MRI of short and ultrashort T2 tissues.
2. 2007 Nielles S, “Atherosclerotic Plaque Imaging with Ultra Short Echo Time (UTE) MRI. ISMRM

## Slide 8: Suppressing Fat to Enhance Contrast
Fat contributes a significant MR signal in diagnostic imaging
Suppressing, separating fat/long-T2 signals help improve short-T2 tissues contrast
Water-fat separation is essential for1,2:
  Assessing metabolic disorders: obesity, metabolic syndrome, type-2 diabetes
  Derive biomarkers: body fat distribution, proton density fat fraction (PDFF)
2016 Baum T. MR-based assessment of body fat distribution and characteristics. European Journal of Radiology.
1984, Dixon T. Simple proton spectroscopic imaging. Radiology

## Slide 9: sUTE Dixon
Water-fat separation using sUTE
Phase contributions in sUTE Dixon
Modeling phase contributions of and inhomogeneities
Overview
Notes: First we will present the motivation on why do we use sUTE-Dixon. And we will talk about why do we want to model the field inhomogeneities to achieve a better water fat separation quality.

## Slide 10: sUTE Water-Fat Separation
Signal model[1]:
Signal model[1]:
  with for UTE
1. 2024 Kronthaler S, MRI of Short- and Ultrashort-T2 Tissues. Springer
2. 2008 Yu, Magn Reson Med 60:1122-1134
Using:
setting
!

## Slide 11: Phase Contributions in sUTE Dixon
Estimate
Main effects:
  : Static field inhomogeneities
  : Receive/Transmit field inhomogeneities
1. 2018 Diefenbach MN Magn Reson Med. Sep;80(3):990-1004
!

## Slide 12: Modeling Phase Contributions
B0 inhomogeneities are global effects and are given by:
2018 Diefenbach MN Magn Reson Med. Sep;80(3):990-1004
2021 Kronthaler S, Magn Reson Med. 2022; 87: 1771–1783
2009 Shumeli K, Magn Reson Med. 1510-1522.
3
The MR scanner inhomogeneities can be modeled by the sum of spherical harmonics (~polynomial) and are mostly lifted by the shim field Bshim:
For the object induced inhomogeneities due to magnetic susceptibility we can use the dipole kernel approximation using the approximate field map of our tissue :
Notes: Short T2* water and fat signals can be reconstructed from a single UTE complex image. (sUTE Dixon)

## Slide 13: Modeling Phase Contributions
The B1 field inhomogeneity is a local effect
It generates from the transmitter/receiver field, depending on the connectivity of the tissue
2021 Kronthaler S, Magn Reson Med. 2022; 87: 1771–1783
2009 Shumeli K, Magn Reson Med. 1510-1522.
Borders between distinctive tissues have high distortions due to effects
Phase is locally smooth and slow varying with a polynomial envelope. Hence a polynomial fit may be used
Notes: Short T2* water and fat signals can be reconstructed from a single UTE complex image. (sUTE Dixon)

## Slide 14: Key Takeaways
effects are comprised of scanner, shim and susceptibility fields
is mostly countered by the shim field
effects may be modeled using the dipole kernel approximation for
effects are smooth and have a characteristic polynomial envelope
inhomogeneities may modeled using a 2nd Degree 3D polynomial
Notes: Short T2* water and fat signals can be reconstructed from a single UTE complex image. (sUTE Dixon)

## Slide 15: Measuring phase contributions
The experiment
Qualitative assessment of induced phase contributions
Validation of modeling assumptions
Qualitative and quantitative assessment of modeled contributions
Overview
Notes: First we will present the motivation on why do we use sUTE-Dixon. And we will talk about why do we want to model the field inhomogeneities to achieve a better water fat separation quality.

## Slide 16: Measuring Phase Contributions
A thoracic coil is used to enhance the signal
To avoid velocity effects it was let to rest before scanning
maps are acquired via a three-echo Dixon and DREAM respectively1
We measure water w/wo added salt to assess -map changes while keeping untouched
2012 Nehrke k, Magn Reson Med. 2022; 87: 1517-1526
Water
Fat
1x
3x
Notes: Short T2* water and fat signals can be reconstructed from a single UTE complex image. (sUTE Dixon)

## Slide 17: Assessing the Induced Phases Qualitatively
As expected inhomogeneities have a very low effect ~0.1 rad
UTE phase contour w. salt
B0 induced phase
UTE phase w. salt
inhomogeneities are smooth and have a polynomial envelope

## Slide 18: Validating the Modeled Phases
We validate the phase comparing the field maps directly
is validated qualitatively since DREAM measures instead of rads and direct comparison is difficult e.g. flatness, curvature
B0 induced phases a) modeled b) measured

## Slide 19: Assessing the Modeled Phases Qualitatively
The B0 modeled contribution cannot fit the raw phase correctly.
The B1 modeled phase can adapt to the slight curvature of the phase inside the phantom
Line-plots no salt

## Slide 20: Assessing the Modeled Phases Quantitatively
The flatness of the resulting phase after removing the respective modeled effect was measured via sum of gradients
Flatness Measurements
Water
Fat
Water Mask
Fat Mask
The effect of B1 inhomogeneities is proven to be much stronger than the B0 counterpart
Respective masks were chosen for measurements in water and fat species exclusively

## Slide 21: Key Takeaways: Modeling Phase Contributions
Salt induces higher conductivity changing phase to resemble a polynomial
effects are low in magnitude and contribute less signal than
contributions are qualitatively and quantitatively more relevant in UTE than effects
The modeling approaches for and are validated with the reference scans
Notes: Short T2* water and fat signals can be reconstructed from a single UTE complex image. (sUTE Dixon)

## Slide 22: Initializing the Gauss-Newton Method
That at UTEs < 0.14ms inhomogeneities are minimal coincide with the findings of Kronthaler et al.1
Overview of Kronthaler method for water-fat separation (Gauss-Newton)
Proposal of initialization of the optimization method
Overview
1. 2022 Kronthaler S, Magn Reson Med.; 87: 1771–1783.

## Slide 23: The Optimization Method
It eliminates the need for an additional calibration by addressing the issue as a smoothness-constrained non-linear inverse problem
A second order optimization method is used (Gauss-Newton)
M, λ are the mask and regularization parameter, used to ensure smoothness of the phase
Problem is ill posed
1. 2022 Kronthaler S, Magn Reson Med.; 87: 1771–1783.
Initialization
Notes: To model this phase contributions we use….

## Slide 24: The Algorithm
Fit a polynomial on the raw signal
Filter the signal and create the initial guesses:
The iterative optimization method is initialized with:

## Slide 25: Separating Water and Fat
Assessment of the effects of initialization on the Gauss Newton method
Scan Parameters for multiple anatomies
Qualitative comparison of phase fit
Qualitative comparison for water fat separation
Overview

## Slide 26: Scan Parameters
Specific parameters:
Anatomy | Coil | FOV [mm3] | Resolution [mm3] | TE/TR [ms] | Scan time [min] | W/F-shift [px]
Cervical Spine | Head/Neck coil 20 channels | 220x220x60 | 0.3x0.3x1.5 | 0.4/6.63 | 1:45:0 | 0.65681
Thoracic Spine Anterior | Torso coil + posterior coil 32 channels | 250x250x60 | 0.3x0.3x1.5 | 0.4/6.80 | 2:02:3 | 0.65454
Lumbar Spine | Anterior torso coil + posterior coil 32 channels | 250x250x60 | 0.3x0.3x1.5 | 0.4/6.80 | 2:02:3 | 0.65454
General parameters:
  Sagittal orientation
  Flip angle of 5o
  SENSE factor of R = 1.5

## Slide 27: Effects of initialization in
Initialization enforces a smoother final fit
No Initialization
With Initialization
Improved convergence path
↑ Regularization → ↑ Smoothness
Number of iterations till convergence are slightly reduced

## Slide 28: Cervical Spine
No Initialization
With Initialization
There are some artifacts at the edges
Water
Fat
No Initialization
No Initialization
With Initialization
With Initialization
Water-fat separation quality is enhanced in the cervical spine
Brain and bone separation is improved by the initialization

## Slide 29: Thoracic Spine
There is no loss of stability by the initialization, visually similar
No Initialization
With Initialization
Better quality at front edge
Fat

## Slide 30: Lumbar Spine
No Initialization
With Initialization
Water
Fat
No Initialization
No Initialization
With Initialization
With Initialization
Better robustness when using initialization w.r.t the regularization parameter
Overall better quality of water-fat separation
↑ Regularization → ↓ Stability
Regularization ⊥ Stability

## Slide 31: Key Takeaways: Initialization Results
fit:
  Initialization enforces a smoother final fit
  Number of iterations is either kept equal or reduced for all cases
Water-fat separation:
  There is Improved water-fat separation quality
  Improved robustness of the optimization method w.r.t
Limitations:
  Separation quality at the anatomy edges remains to be improved

## Slide 32: Pre-Initialization Filtering effects
Anatomies with stark changes in have strong contributions
Test the effect of filtering from the scan before separating water and fat
Description of the method
Validation of water-fat separation w.r.t the initialized Gauss Newton method
Qualitative assessment of water fat separation in the lung
Overview
Notes: First we will present the motivation on why do we use sUTE-Dixon. And we will talk about why do we want to model the field inhomogeneities to achieve a better water fat separation quality.

## Slide 33: Filtering Contributions
Initialization proves to enhance the water-fat separation quality
Anatomies with a strong difference in susceptibility around small regions may be affected significantly by contributions
Lung are scanned because of its stark difference between tissue and air
The general parameters of the scan are the same as for the previous thoracic spine measurements
Notes: Short T2* water and fat signals can be reconstructed from a single UTE complex image. (sUTE Dixon)

## Slide 34: The Method
The phase is extracted and masked to only fit the lung
is modeled and filtered out of the raw signal
is passed down to the initialized optimization method
Notes: Short T2* water and fat signals can be reconstructed from a single UTE complex image. (sUTE Dixon)

## Slide 35: Modeling inside the Lung
Map Lung
The lungs were scanned with the same parameters as before
The map masks only air and not the bronchi
Lung Scans
or the heart and spine
Notes: Short T2* water and fat signals can be reconstructed from a single UTE complex image. (sUTE Dixon)

## Slide 36: Validation
Water-fat separation is virtually equal as with all previous anatomies using the plain initialized Gauss Newton method
Model is validated
Notes: Short T2* water and fat signals can be reconstructed from a single UTE complex image. (sUTE Dixon)

## Slide 37: Separating Water and Fat: Lung I
Results are similar for medium/high
Two lungs scans are assessed
At low separation is worse at the outer skin fat
Notes: Short T2* water and fat signals can be reconstructed from a single UTE complex image. (sUTE Dixon)

## Slide 38: Separating Water and Fat: Lung II
Results are similar for high
At medium/low separation is worse at outer skin fat
Notes: Short T2* water and fat signals can be reconstructed from a single UTE complex image. (sUTE Dixon)

## Slide 39: Key Takeaways: Pre-Initialization
Field-Map Fit
  Air is correctly captured and modeled inside the lung
  Smaller tissues such as bronchi are masked out
Water-fat separation:
  Water-fat separation quality is virtually the same in common anatomies
  Water-fat separation quality in the lung is decreased at medium/low
Limitations:
  The plain initialized method seems capable of modeling without further assistance, leading to overfitting when is pre-filtered

## Slide 40: Discussion & Conclusion
Modeling field inhomogeneities
  and can be modeled via dipole-kernel and polynomial methods, respectively
  contributions are more relevant in UTE than effects
Initialization of the Gauss Newton method:
  Initialization enforces a smoother fit and improves convergence path
  Water-fat separation quality, robustness and efficiency is improved
Pre-filtering :
  The plain initialized method seems capable of modeling without further assistance, leading to overfitting when is pre-filtered

## Slide 41
Acknowledgments
The present work was supported by
TUM International Graduate School of Science and Engineering (TUM-ICL Joint Academy of Doctoral Studies)
Philips Healthcare

## Slide 42: Thank You